APPENDIX G:  	LABORATORY SELF-INSPECTION CHECKLIST

Department: ………………...	Room: .....................		Principal Investigator: ............................................

Today's Date: ..........................................................      		Telephone No. .......................................................

Certificate of Fitness #.............................................		Expires: ...................................................................

Y = Yes	N = No	N/A = Not Applicable

I. Laboratory signs                       	Y 	N 	N/A

“Laboratory”				(	(	(

“Flammable Gases”		(	(	(

“LASER Operating”		(	(	(

“Radioactive Materials”		(	(	(

“Water-Reactive Chemicals”	(	(	(

“Biohazard”				(	(	(

“Fire Extinguisher”		(	(	(

“No Smoking”			(	(	(

“Class IV Laboratory Limits”	(	(	(

“No Smoking Eating or Drinking in the Lab.”	(	(	(

“Safe Hood Operation”		(	(	(

“Eyewash”				(	(	(

“Safety Shower”			(	(	(

“Spill Cleanup Materials”		(	(	(

“Caution-Food Must Not Be Stored In This ...”	(	(	(

“Store No Flammables Flashing

Below 1000 F.”			(	(	(

“Caution - Do Not Use For Food”	(	(	(

“Flammable - Keep Fire Away” +/or

“Corrosive”				(	(	(

II. Emergency Preparedness:

Emergency telephone numbers posted 	(	(	(

All exits clear and unobstructed	(	(	(

Fire Extinguishers:

Locations clearly visible/unobstructed 	(	(	(

Inspected within the last year	(	(	(

Correct for flammable hazards present  	(	(	(

Safety showers present and working	(	(	(

Eyewash stations present and working	(	(	(

III. Housekeeping:

Counters & floors are uncluttered 	(	(	(

Passageways are clear		(	(	(

Broken glass/syringe disposal containers

provided where needed & clearly labeled 	(	(	(

No storage within 18" of sprinkler heads 	(	 (	(

Warning signs current, no frivolous warnings

are posted				(	(	(

IV. Compressed Gas

No long-term storage of corrosive gases 	(	(	(

All cylinders secured in place	(	(	(

Oxygen & flammable gases are stored

separately from each other		(	(  (

Cylinders hydrostatically in the past 10 years	(	(	(

V.  Mechanical Hazards

Machine guarding is in place (e.g., vacuum

pumps, lock-out/tag-out of equipment 	(	(	(

VI. Electrical Hazards

Electrical equipment is double insulated or

grounded (e.g., 3-prong plug) 	(	(	(

Electric cords in good condition 	(	(	(

Exposed circuits are barricaded when

energized				(	(	(

Electrical service panels unobstructed	(	(	(

VII. Ventilation (Lab Hoods):

Hood sash is in place & operable	(	(	(

Sash is used at proper working height	(	(	(

Equipment positioned at least 6" into hood	(	(	(

Airflow unobstructed by equipment./material	(	(	(

Lab doors are kept closed		(	(	(

Hood interior is clean and uncluttered	(	(	(

Airflow indicator is used 		(	(	(

VIII.  Personal Protective Equipment:	Y 	N 	N/A

Safety goggles are available and worn	(	(	(

Face shields & safety shields available	(	(	(

Appropriate gloves are available and used	(	(	(

Lab coats/aprons are worn		(	(	(

Appropriate shoes are worn	(	(	(

Hearing protection worn when noise interferes

with normal speech		(	(	(

IX. Chemical Storage

Chemical stocks kept at a minimum	(	(	(

FDNY flammable/combustible liquid limits

are observed 			(	(	(

Grounding straps used appropriately with

flammable gases/liquids		(	(	(

Chemical compatibilities are recognized

& observed in storage design 	(	(	(

Containers and closures are in good condition	(	(	(

Highly reactive substances are disposed of

before expiration date, or when no longer

needed (THF, Ether …)		(	(	(

All chemical containers are properly labeled

(chemical name, hazardous properties, date,

name of owner)			(	(	(

X.  Waste Management		Y 	N 	N/A

Efforts are made to minimize waste generated

(scaling down reaction size, reuse of solvents

when feasible, etc.)		(	(	(

Waste Containers are sound	(	(	(

Waste Containers are compatible with waste	(	(	(

Waste containers properly labeled,

including the words Hazardous Waste? 	(	(	(

The contents of the container clearly listed	(	(	(

Container closed with a properly fitting cap	(	(	(

Waste containers are in secondary

containment trays		(	(	(

Waste in same secondary containment trays

compatible with each other	(  (  (

The waste containers located in the lab

(not in hallway or storeroom)	(  (  (

Less than 55 gallons of waste

in the laboratory	(  (  (

Waste located away from floor drains or sinks	(  (  (

Full containers being taken to the main

accumulation area for proper disposal	(  (  (

Hoods are not used for waste disposal	(  (  (

XII. Hazards Intrinsic to Our Work:

Y 	N 	N/A

..............................................................	(	(	(

..............................................................	(	(	(

..............................................................	(	(	(

..............................................................	(	(	(

..............................................................	(	(	(

..............................................................	(	(	(

..............................................................	(	(	(

..............................................................	(	(	(

..............................................................	(	(	(

..............................................................	(	(	(

XI. Spill Cleanup

Lab workers know where spill cleanup

procedures & materials are available	(	(	(

Lab workers are trained in spill cleanup	(	(	(

Additional Safety Concerns Observed:

.......................................................................................

.......................................................................................

.......................................................................................

.......................................................................................

.......................................................................................

.......................................................................................

General Comments: ..................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................................